
 SEQ CHAPTER \h \r 1 CITY OF MARBLE FALLS
GENERAL CONSTRUCTION NOTES

Revised November 13, 2023
1.
ALL CONSTRUCTION IS TO BE IN ACCORDANCE WITH THE FOLLOWING REGULATIONS AND SPECIFICATIONS.  THE FIRST LISTED WILL HAVE PRIORITY OVER THOSE LISTED BELOW:




PERMITS ISSUED FOR PROJECT BY ANY REGULATORY AGENCIES.




TEXAS COMMISSION ON ENVIRONMENTAL QUALITY REGULATIONS.




CITY OF MARBLE FALLS CONSTRUCTION STANDARDS.




PLANS FOR THIS PROJECT.

2.
PRIOR TO THE BEGINNING OF CONSTRUCTION, THE DEVELOPER SHALL ARRANGE A PRE-CONSTRUCTION CONFERENCE AT THE CITY OF MARBLE FALLS.  REPRESENTATIVES FROM THE FOLLOWING ORGANIZATIONS SHALL BE INVITED:




CITY OF MARBLE FALLS STAFF INCLUDING THE DIRECTOR OF PUBLIC WORKS, CITY ENGINEER AND THE PUBLIC WORKS INSPECTOR.




CONTRACTOR.




DESIGN ENGINEER.

ELECTRIC, GAS, PHONE AND CABLE UTILITY REPRESENTATIVES, IF APPROPRIATE.

3.
PRIOR TO THE BEGINNING OF CONSTRUCTION, ALL PLAN REVIEW AND CONSTRUCTION INSPECTION FEES SHALL BE PAID TO THE CITY OF MARBLE FALLS AND THE FOLLOWING PERMITS SHALL BE IN PLACE, IF NECESSARY:



TEXAS DEPARTMENT OF TRANSPORTATION, ENTRY ONTO A HIGHWAY.



U.S. CORPS OF ENGINEERS, SECTION 404, FOR CONSTRUCTION IN



FLOOD PLAIN.

COMPLIANCE WITH THE TEXAS COMMISSION ON ENVIRONMENTAL QUALITY (TCEQ) TEXAS POLLUTANT DISCHARGE ELIMINATION SYSTEM (TPDES) CONSTRUCTION GENERAL PERMIT (TXR150000).

TEXAS DEPARTMENT OF LICENSING AND REGULATION FOR    ACCESSIBILITY.



TCEQ FOR SIGNIFICANT WATER AND WASTEWATER FACILITIES, INCLUDING LIFT STATIONS.
4.
BENCHMARKS FOR THIS PROJECT ARE DESCRIBED AS FOLLOWS:

5.
THE STREET PAVEMENT THICKNESS IS BASED ON A REPORT BY _________________________ DATED _____________, 20___ WHICH RECOMMENDS THE FOLLOWING STREET SECTIONS.

       STREET


STREET

LIME STABILIZATION
  BASE
HOT MIX

CLASSIFICATION

WIDTH

   OF SUBGRADE   

THICKNESS
ASPHALT
_______________

__________

_____________

_________
________

_______________

__________

_____________

_________
________

6.
ANY EXISTING PAVEMENT, CURBS, AND/OR SIDEWALKS DAMAGED OR REMOVED SHALL BE REPAIRED BY THE CONTRACTOR AT HIS EXPENSE BEFORE ACCEPTANCE OF THE SUBDIVISION.

7.
THE CONTRACTOR SHALL GIVE THE CITY OF MARBLE FALLS (PHONE NO. 830-798-6260), 48 HOURS NOTICE PRIOR TO CONNECTING TO ANY EXISTING CITY UTILITY LINE.

8.
SIDEWALKS FRONTING PUBLIC RIGHT-OF-WAY LAND OR INCLUDING ALL SIDEWALK RAMPS REQUIRED BY CITY ORDINANCE SHOWN ON THESE PLANS SHALL BE CONSTRUCTED WITH THIS PROJECT.

9.
THE CONTRACTOR SHALL BE RESPONSIBLE FOR WARNING AND SAFETY SIGNS, BARRICADES AND TRAFFIC CONTROL DURING CONSTRUCTION.  ALL ROAD SIGNAGE SHALL CONFORM TO THE TEXAS MANUAL ON UNIFORM TRAFFIC CONTROL DEVICES.

10.
THE CONTRACTOR SHALL MAKE ARRANGEMENTS WITH THE CITY OF MARBLE FALLS FOR THE USE OF ALL WATER FOR CONSTRUCTION.

11.
ALL FILL OR CUT ON LOTS WHICH IS GREATER THAN TWELVE (12) INCHES SHALL BE SHOWN ON THE PLANS AND SHALL CONFORM TO THE FOLLOWING:



FILL MATERIAL SHALL NOT CONTAIN ANY ROCKS HAVING A MAXIMUM DIMENSION GREATER THAN FOUR (4) INCHES.



FILL MATERIAL SHALL HAVE AT LEAST FIFTY PERCENT (50%) PASSING THE NO. 4 SIEVE.



FILL MATERIAL SHALL BE REASONABLY FREE OF ROOTS, TRASH, CONCRETE RUBBLE AND OTHER ORGANIC MATERIAL.



COMPACTION SHALL BE TO NINETY-FIVE PERCENT (95%) OF MAXIMUM LABORATORY DENSITY DETERMINED IN ACCORDANCE WITH THE ASTM D 698.  THE MATERIAL SHALL BE WITHIN THREE (3) PERCENTAGE POINTS OF OPTIMUM MOISTURE CONTENT DURING COMPACTION.



PLACEMENT SHALL BE IN LIFTS NOT EXCEEDING SIX (6) INCHES AFTER COMPACTION.  EACH COMPACTED LIFT SHOULD BE INSPECTED AND/OR TESTED FOR DENSITY COMPLIANCE BY A GEOTECHNICAL ENGINEER PRIOR TO PLACING THE NEXT LIFT.  THE FILL AREA SHOULD EXTEND AT LEAST 18 INCHES (36 INCHES ON FILLS OVER SIX (6) FEET IN HEIGHT) BEYOND THE BACK OF CURB OR FOUNDATION LINE BEFORE SLOPING DOWNWARD NO MORE THAN THREE (3) TO ONE (1) SLOPE TO NATURAL SOIL.  BACKSLOPES SHALL BE WELL COMPACTED.  MAXIMUM FILL HEIGHTS SHOULD NOT EXCEED TEN (10) FEET WITHOUT ENGINEERING CONSULTATION.

12.
THE CONTRACTOR SHALL GIVE THE CITY INSPECTOR 36 BUSINESS HOURS NOTICE OF THE NEED FOR MATERIALS TESTING.  ALL TESTING WILL BE ARRANGED AND PAID FOR BY THE CONTRACTOR.  THE CITY SHALL RECEIVE A COPY OF TEST RESULTS.

13.
THE CONTRACTOR OR THE DESIGN ENGINEER SHALL BE RESPONSIBLE FOR ALL CONSTRUCTION STAKING AND CUT SHEETS FOR PIPELINES LAID ON GRADE AND ROAD CONSTRUCTION.  CUT SHEETS SHALL BE DELIVERED TO THE CITY INSPECTOR 36 BUSINESS HOURS PRIOR TO CONSTRUCTION.

14.
IN ACCORDANCE WITH THE LAWS OF THE STATE OF TEXAS AND THE U.S. OCCUPATIONAL SAFETY AND HEALTH ADMINISTRATION REGULATIONS, ALL TRENCHES OVER 5 FEET IN DEPTH IN EITHER HARD AND STABLE OR SOFT AND UNSTABLE SOIL SHALL BE SLOPED, SHORED, SHEETED, BRACED OR OTHERWISE SUPPORTED.  FURTHERMORE, ALL TRENCHES LESS THAN 5 FEET IN DEPTH SHALL ALSO BE EFFECTIVELY PROTECTED WHEN HAZARDOUS GROUND MOVEMENT MAY BE EXPECTED.  TRENCH SAFETY SYSTEMS TO BE UTILIZED FOR THIS PROJECT SHALL BE PROVIDED BY THE CONTRACTOR.


IN ACCORDANCE WITH THE U.S. OCCUPATIONAL SAFETY AND HEALTH ADMINISTRATION REGULATIONS, WHEN EMPLOYEES ARE REQUIRED TO BE IN TRENCHES 4 FEET DEEP OR MORE, ADEQUATE MEANS OF EXIT, SUCH AS A LADDER OR STEPS, MUST BE PROVIDED AND LOCATED SO AS TO REQUIRE NO MORE THAN 25 FEET OF LATERAL TRAVEL.

15.
NO TREES OVER 12 INCHES IN DIAMETER SHALL BE REMOVED UNLESS DESIGNATED TO BE REMOVED ON THE APPROVED PLANS.  ALL TREE LIMBS REMOVED OR TRIMMED SHALL BE VERTICALLY CUT AND DRESSED.

16.
ALL CONSTRUCTION ACTIVITIES SHALL BE CONFINED TO PROPERTY OWNED BY THE DEVELOPER OR PUBLIC RIGHT-OF-WAY AND EASEMENT UNLESS WRITTEN PERMISSION IS OBTAINED BY THE CONTRACTOR FROM THE PROPERTY OWNER AFFECTED.
17.
BLASTING WITHIN THE CITY LIMITS IS PERMITTED AS APPROVED BY THE FIRE MARSHAL AND PUBLIC WORKS DEPARTMENT.

TYPICAL SEQUENCE OF CONSTRUCTION

1.
HOLD PRE-CONSTRUCTION CONFERENCE.
2.
NO CLEARING OR ROUGH GRADING MAY BE DONE UNTIL THE APPROVED EROSION AND SEDIMENTATION CONTROLS ARE IN PLACE.
3.
INSTALL TEMPORARY EROSION AND SEDIMENTATION CONTROLS AND STABILIZATION CONSTRUCTION ENTRANCE, IF REQUIRED, IN THE APPROVED PLANS.

4.
ROUGH GRADE STREETS.

5.
INSTALL ALL UTILITIES AS APPROVED IN PLANS.
6.
RE-GRADE AND COMPACT SUBGRADE.  MEET WITH CITY INSPECTOR AND/DESIGN ENGINEER TO DETERMINE AREAS OF DIFFERING STREET SECTION THICKNESS OR SUBGRADE PREPARATION IF CALLED FOR IN THE GEOTECHNICAL REPORT.

7.
ENSURE ALL UNDERGROUND UTILITY CROSSINGS ARE IN PLACE INCLUDING SLEEVES FOR DRY UTILITIES AND INSTALL FIRST COURSE OF BASE.

8.
INSTALL CURBS, RIP-RAP AND MISCELLANEOUS CONCRETE.

9.
INSTALL SECOND COURSE OF BASE.

10.
LAY ASPHALT.

11.
FINAL GRADE ANY DITCHES AND PARKWAYS.

12.
REVEGETATE ALL DISTURBED AREAS.  DISPOSE OF SPOIL IN AN APPROVED MANNER.

13.
SCHEDULE A FINAL INSPECTION WITH THE CITY.

14.
AFTER THE ACCEPTANCE OF CONSTRUCTION, TEMPORARY EROSION CONTROLS MAY BE REMOVED.


MINIMUM CRITERIA FOR ACCEPTANCE

1. ALL CONSTRUCTION IS COMPLETE INCLUDING DRY UTILITIES AND RESTORATION TO THE CRITERIA.
2. ALL RECORDS OF CONSTRUCTION TESTING AND RECORD DRAWINGS SHOWING ANY CHANGES DURING CONSTRUCTION PROVIDED TO THE CITY OF MARBLE FALLS. 
3. PROVIDE A DIGITAL COPY AND TWO (2) PRINTED COPIES OF THE STAMPED AS-BUILTS.
4. FINAL PUNCHLIST ITEMS COMPLETED.
5. SIGNED AND SEALED ENGINEER’S CONCURRENCE LETTER.
6. FINAL COST AND QUANTITIES FOR PUBLIC IMPROVEMENTS.

7. ALL CITY OF MARBLE FALLS FEES PAID AND MAINTENANCE BOND POSTED.

8. ALL STREET LIGHTING, SIGNS AND PAVEMENT MARKINGS SHALL BE IN PLACE.


WATER AND WASTEWATER NOTES

1. PIPE MATERIAL FOR WATER MAINS SHALL BE PVC (AWWA C-900, DR-14) OR DUCTILE IRON (AWWA C-151, CLASS 350).

2. PIPE BEDDING FOR PRESSURE RATED WATER PIPE (AWWA C-900, DR-14 PVC OR AWWA C-151, CLASS 350 DUCTILE IRON) SHALL BE MANUFACTURED SAND AND CONFORM TO ASTM C-33 FINE AGGREGATE GRADATION. MATERIAL SHALL BE HOMOGENOUS AND COMPOSED MAINLY OF GRANULAR MINERAL MATTER AND BE FREE OF MUD, SILT, CLAY LUMPS OR CLODS, VEGETATION OR DEBRIS.
3. PIPE MATERIAL FOR GRAVITY SEWER SHALL BE SDR-26 PVC IF LOCATED GREATER THAN 9 FEET FROM A WATERLINE, OTHERWISE SHALL BE PRESSURE RATED PIPE.

4. PIPE BEDDING FOR FLEXIBLE GRAVITY PIPE (SDR-26 PVC) SHALL BE 1/4" TO 1/2" CLEAN GRAVEL OR CRUSHED LIMESTONE AND CONFORM TO ASTM C-33 COARSE AGGREGATE GRADATION.
5. THE CITY INSPECTOR SHALL OBSERVE ALL TAPS TO CITY UTILITY LINES AND PRIOR TO ANY UTILITY RELOCATION.  
6. THE CONTRACTOR SHALL DISINFECT AND PRESSURE TEST ALL WATER LINES AND PERFORM LEAK AND DEFLECTION TESTS ON GRAVITY WASTEWATER LINES AT THEIR EXPENSE.

7. THE CITY INSPECTOR SHALL BE NOTIFIED 36 HOURS PRIOR TO ALL UTILITY LINE TESTING.  THE CONTRACTOR, WITH CITY STAFF PRESENT, IS RESPONSIBLE FOR SAMPLING AND TRANSPORTING BACTERIOLOGICAL TEST SAMPLES TO THE STATE DEPARTMENT OF HEALTH, OR ANY NELAP CERTIFIED LAB.  ALL TEST RESULTS, WHETHER PASSING OR FAILING, SHALL BE PROVIDED TO THE CONTRACTOR.  MANDREL DEFLECTION TESTING SHALL NOT BE CONDUCTED UNTIL THE PIPES HAVE BEEN BACKFILLED FOR 30 DAYS.

8. FIRE HYDRANTS SHALL BE MUELLER CENTURION OR CLOW MEDALLION. ALL HYDRANTS THAT ARE INSTALLED AS PUBLIC IMPROVEMENTS SHALL BE PAINTED RED.

9. THE CONTRACTOR SHALL SUBMIT TO THE DESIGN ENGINEER, DESCRIPTIVE INFORMATION FOR MATERIALS TO BE USED ON THE PROJECT FOR REVIEW.  A COPY OF THE ACCEPTED MATERIAL SHALL ALSO BE PROVIDED TO THE CITY OF MARBLE FALLS TEN (10) DAYS PRIOR TO THE INSTALLATION OF UTILITIES.

10. PRESSURE TAPS SHALL BE IN ACCORDANCE WITH THE CITY OF MARBLE FALLS.  THE CONTRACTOR SHALL DO ALL EXCAVATION ETC., AND SHALL FURNISH, INSTALL AND AIR TEST THE SLEEVE AND VALVE.  A CITY OF MARBLE FALLS INSPECTOR MUST BE PRESENT WHEN TAP IS MADE.  “SIZE ON SIZE” TAPS WILL NOT BE PERMITTED WITHOUT PRIOR APPROVAL OF THE DIRECTOR OF PUBLIC WORKS.  CONCRETE BLOCKING SHALL BE PLACED BEHIND AND UNDER ALL TAP SLEEVES TWENTY-FOUR (24) HOURS PRIOR TO MAKING THE WET TAP.

11. THE CONTRACTOR MUST CALL “TEXAS 811” (PHONE NO. 811) FOR LOCATION OF CITY UTILITIES.
12. 200 PSI MUNICIPEX TUBING SHALL BE USED ON ALL WATER SERVICES.

13. ALL MANHOLES SHALL BE INTERNALLY COATED WITH RAVEN LINING SYSTEMS OR SPRAYROQ, INCLUDING THE TIE-IN MANHOLE, UNLESS WAIVED BY THE DIRECTOR OF PUBLIC WORKS.

FIRE PREVENTION NOTES

1.
THE CONTRACTOR SHALL PROVIDE COMPACTED FLEXIBLE BASE PAVEMENT PRIOR TO CONSTRUCTION OF COMBUSTIBLE MATERIALS AS AN “ALL WEATHER DRIVING SURFACE.”

2.
HYDRANTS MUST BE INSTALLED WITH THE CENTER OF THE 4 ½ INCH OPENING AT LEAST EIGHTEEN (18) INCHES ABOVE FINISHED GRADE.  THE 4 ½ INCH OPENING MUST FACE THE DRIVEWAY OR STREET WITH 3' - 6" SETBACK FROM CURBLINE(S).  NO OBSERVATION IS ALLOWED WITHIN THREE (3) FEET OF ANY HYDRANT AND THE 4 ½ INCH OPENING MUST BE TOTALLY UNOBSTRUCTED FROM THE STREET (USE NST THREADS).

3.
DESIGNATE NO PARKING - FIRE LANE WITH CURB PAINTED RED AND WHITE STENCIL IN “FIRE ZONE / TOW AWAY ZONE” IN LETTERING 3 INCHES IN HEIGHT IN PROXIMITY TO COMMERCIAL, INDUSTRIAL AND PUBLIC STRUCTURES.


EROSION AND SEDIMENTATION CONTROL

1.
AFTER THE PRECONSTRUCTION MEETING IS HELD, THE CONTRACTOR SHALL INSTALL EROSION/SEDIMENTATION CONTROLS AND FENCING FOR AREAS OUTSIDE OF THE CONSTRUCTION AREA PRIOR TO ANY SITE PREPARATION WORK (CLEARING, GRUBBING OR EXCAVATION).

2.
THE CONTRACTOR IS REQUIRED TO INSPECT THE CONTROLS AND FENCES AT WEEKLY INTERVALS, AND AFTER SIGNIFICANT RAINFALL EVENTS TO ENSURE THAT THEY ARE FUNCTIONING PROPERLY.  THE PERSON(S) RESPONSIBLE FOR MAINTENANCE OF CONTROLS AND FENCES SHALL IMMEDIATELY MAKE ANY NECESSARY REPAIRS TO DAMAGED AREAS.  SILT ACCUMULATION AT CONTROLS MUST BE REMOVED WHEN THE DEPTH REACHES SIX (6) INCHES.

3.
PRIOR TO FINAL ACCEPTANCE BY THE CITY, HAUL ROADS AND WATERWAY CROSSINGS CONSTRUCTED FOR TEMPORARY CONTRACTOR ACCESS MUST BE REMOVED, ACCUMULATED SEDIMENT REMOVED FROM THE WATERWAY AND THE AREA RESTORED TO THE ORIGINAL GRADE AND REVEGETATED.  ALL LAND CLEARING DEBRIS SHALL BE DISPOSED OF IN APPROVED SPOIL DISPOSAL SITES.

4.
FIELD REVISIONS TO THE EROSION AND SEDIMENTATION CONTROL PLAN MAY BE REQUIRED BY THE CITY INSPECTOR DURING THE COURSE OF CONSTRUCTION TO CORRECT CONTROL INADEQUACIES.

5.
PERMANENT EROSION CONTROL:   ALL DISTURBED AREAS SHALL BE RESTORED AS NOTED BELOW:


A.
A MINIMUM OF FOUR (4) INCHES OF TOPSOIL SHALL BE PLACED IN ALL DRAINAGE CHANNELS (EXCEPT ROCK), AND BETWEEN THE CURB AND RIGHT-OF-WAY.


B.
THE SEEDING FOR PERMANENT EROSION CONTROL SHALL BE APPLIED OVER AREAS DISTURBED BY CONSTRUCTION AS FOLLOWS:



BROADCAST SEEDING:



(I)
FROM OCTOBER TO FEBRUARY, SEEDING SHALL BE WITH ONE (1) POUND PER 1,000 SQUARE FEET OF UNHULLED BERMUDA OR THREE (3) POUNDS PER 1,000 SQUARE FEET OF WINTER RYE.


(II)
FROM MARCH TO SEPTEMBER, SEEDING SHALL BE WITH HULLED BERMUDA AT A RATE OF ONE (1) POUND PER 1,000 SQUARE FEET.


FERTILIZER, IF USED, SHALL BE SLOW RELEASE GRANULAR OR PALETTE TYPE, AND SHALL HAVE AN ANALYSIS OF 15-15-15, AND SHALL BE APPLIED AT THE RATE OF ONE (1) POUND PER 1,000 SQUARE FEET, ONCE AT THE TIME OF PLANTING, AND AGAIN ONCE DURING THE TIME OF ESTABLISHMENT.



THE MULCH TYPE USED SHALL BE STRAW OR HAY APPLIED AT A RATE OF 45 POUNDS PER 1,000 SQUARE FEET.



HYDRAULIC SEEDING:



(I)
FROM OCTOBER TO FEBRUARY, SEEDING SHALL BE WITH ONE (1) POUND PER 1,000 SQUARE FEET OF UNHULLED BERMUDA, OR THREE (3) POUNDS PER 1,000 SQUARE FEET OF WINTER RYE.


(II)
FROM MARCH TO SEPTEMBER, SEEDING SHALL BE WITH HULLED BERMUDA AT A RATE OF ONE (1) POUND PER 1,000 SQUARE FEET.


FERTILIZER, IF USED, SHALL BE A WATER-SOLUBLE FERTILIZER WITH AN ANALYSIS OF 15-15-15 AT A RATE OF 1.5 POUNDS PER 1,000 SQUARE FEET.



MULCH TYPE SHALL BE HAY, STRAW OR MULCH APPLIED AT A RATE OF 45 POUNDS PER 1,000 SQUARE FEET, WITH A SOIL TACKIFIER AT A RATE OF 1.4 POUNDS PER 1,000 SQUARE FEET.


C.
THE PLANTED AREA SHALL BE IRRIGATED OR SPRINKLED IN A MANNER THAT WILL NOT ERODE THE TOPSOIL BUT WILL SUFFICIENTLY SOAK TO A DEPTH OF SIX (6) INCHES.  THE IRRIGATION SHALL OCCUR AT 10-DAY INTERVALS DURING THE FIRST TWO (2) MONTHS.  RAINFALL OCCURRENCES OF ½ INCH OR MORE SHALL POSTPONE THE WATERING SCHEDULE FOR TEN (10) DAYS.


D.
RESTORATION SHALL BE ACCEPTABLE WHEN THE GRASS HAS GROWN AT LEAST 1 INCH HIGH WITH 85% COVERAGE, PROVIDED NO BARE SPOTS LARGER THAN 20 SQUARE FEET EXIST.


E. 
A SOIL RETENTION BLANKET SHALL BE PLACED ON ALL SLOPES EQUAL TO OR GREATER THAN 3:1. ALL SOIL RETENTION BLANKETS MUST BE LISTED ON THE TXDOT APPROVED PRODUCTS LIST OR APPROVED BY THE CITY.
DEVELOPER INFORMATION:
OWNER:
_____________________________






ADDRESS:
_____________________________









_____________________________






PHONE:
_____________________________






REPRESENTATIVE:
_______________________

DESIGN ENGINEER:

REPRESENTATIVE RESPONSIBLE FOR PLAN CHANGES.






NAME:
_____________________________






ADDRESS:
_____________________________









_____________________________






PHONE:
_____________________________

CITY OF MARBLE FALLS:


DIRECTOR OF PUBLIC WORKS: 
JAMES KENNEDY (830) 798-6260

CITY ENGINEER:
JEFF PRATO, P.E. (830) 262-0232


Page 
 of 8

Page 
 of 8

